## LL97 Fines
|  | Energy Usage | [7 empty] | GHG Limits
| sqft | 2018 mlbs | 2018 kwh | 2019 mlbs | 2019 kwh | 2020 mlbs | 2020 kwh | 2021 mlbs | 2021 kwh | 2024-2029 GHG Limit | 2030-2034 Limit | 2050 Limit
10 rock | 409556 | 19199.21 | 5573600 | 17186.05 | 4941600 | 12307.33 | 3885600 | 13085.01 | 3983200 | 3464.8438 | 1855.2887 | 573.3784 | 10 rock
1230 6th | 730615 | 15090.56 | 8940800 | 13869.8 | 8340800 | 10831.21 | 6860000 | 10404.58 | 7150400 | 6181.0029 | 3309.686 | 1022.861 | 1230 6th
30 rock | 2911536 | 172342.78 | 104057124 | 140689.79 | 103793286 | 117109.91 | 89166210 | 112920.4 | 85350840 | 24631.5946 | 13189.2581 | 4076.1504 | 30 rock
45 Rock | 1217115 | 57761.28 | 19053600 | 52828.13 | 19230400 | 45233.15 | 14853600 | 46863.2 | 14758400 | 10296.7929 | 5513.531 | 1703.961 | 45 Rock
610 5th | 111101 | 7606.44 | 1818800 | 8911.81 | 1740000 | 6774.16 | 1430800 | 6439.48 | 1296800 | 939.9145 | 503.2875 | 155.5414 | 610 5th
50 Rock | 472505 | 19292.78 | 6710400 | 22675.57 | 6523200 | 17781.59 | 4840800 | 14896.85 | 3281600 | 3997.3923 | 2140.4477 | 661.507 | 50 Rock
620 5th | 147585 | 6892.62 | 3309600 | 6952.23 | 3189600 | 5202.58 | 2278400 | 3981.37 | 2342480 | 1248.5691 | 668.5601 | 206.619 | 620 5th
1270 6th | 449291 | 18461.39 | 4702800 | 17882.85 | 4383200 | 17206.48 | 3418000 | 17403.33 | 3217600 | 3801.0019 | 2035.2882 | 629.0074 | 1270 6th
1 Rock | 568606 | 19020.9689 | 7454400 | 19835.9896 | 7284800 | 15805.834 | 5387200 | 15961.348 | 5387200 | 4810.4068 | 2575.7852 | 796.0484 | 1 Rock
600 5th | 396109 | 13250.6111 | 5324000 | 13818.3804 | 5498400 | 11010.846 | 4960000 | 11119.182 | 4960000 | 3351.0821 | 1794.3738 | 554.5526 | 600 5th
RCHM | 647524 | 14087.37 | 5743840 | 14294.06 | 5274720 | 7729.9 | 2991200 | 12254.5933 | 3872000 | 5478.053 | 2933.2837 | 906.5336 | RCMH
As a Campus | 8061543 | 363006.01 | 172688964 | 328944.66 | 170200006 | 266992.99 | 140071810 | 265329.3433 | 135600520 | 68200.6538 | 36518.7898 | 11286.1602 | As a Campus
| GHG Emissions from 2021 Usage |  |  |  | % Change Required to Meet Goal
| 2021 Steam | 2021 Electric | 2021 Electric with 2030 Grid | 2021 Electric with 2050 Grid | 2024 Reduction Needed | 2030 Reduction Needed | 2050 Reduction Needed | 2024 Fine | 2030 Fine | 2050 Fine
10 rock | 701.9639 | 1150.9934 | 920.7948 | 115.0993 | 0% | 0% | 29.82% | 0 | 0 | 65307.5494 | 10 rock
1230 6th | 558.1685 | 2066.1939 | 1652.9551 | 206.6194 | 0% | 0% | 0% | 0 | 0 | 0 | 1230 6th
30 rock | 6057.7752 | 24663.1494 | 19730.5195 | 2466.3149 | 19.82% | 48.86% | 52.18% | 1631940.4596 | 3376541.8269 | 1192047.8524 | 30 rock
45 Rock | 2514.0429 | 4264.6168 | 3411.6934 | 426.4617 | 0% | 6.956% | 42.05% | 0 | 110471.043 | 331393.6815 | 45 Rock
610 5th | 345.455 | 374.7259 | 299.7807 | 37.4726 | 0% | 22% | 59.38% | 0 | 38042.1326 | 60939.5125 | 610 5th
50 Rock | 799.1627 | 948.2577 | 758.6062 | 94.8258 | 0% | 0% | 26% | 0 | 0 | 62305.0264 | 50 Rock
620 5th | 213.5862 | 676.8877 | 541.5102 | 67.6888 | 0% | 11.46% | 26.54% | 0 | 23191.745 | 20007.8128 | 620 5th
1270 6th | 933.6264 | 929.7641 | 743.8113 | 92.9764 | 0% | 0% | 38.73% | 0 | 0 | 106555.5575 | 1270 6th
1 Rock | 856.2692 | 1556.6961 | 1245.3569 | 155.6696 | 0% | 0% | 21.33% | 0 | 0 | 57858.6239 | 1 Rock
600 5th | 596.5043 | 1433.2515 | 1146.6012 | 143.3252 | 0% | 0% | 25.04% | 0 | 0 | 49654.1983 | 600 5th
RCHM | 657.4151 | 1118.8609 | 895.0887 | 111.8861 | 0% | 0% | 0% | 0 | 0 | 0
[8 empty] | 1631940.4596 | 3548246.7474 | 1946069.8147 | Total Fines Individually
As a Campus | 14233.9694 | 39183.3975 | 31346.718 | 3918.3397 | 0% | 19.88% | 37.83% | 0 | 2428588.5485 | 1840127.9151 | Fine as Campus
| GHG Emissions from 2020 Usage |  |  |  | % Change Required to Meet Goal
| 2020 Steam | 2020 Electric | 2030 Grid | 2050 Grid | 2024 Reduction Needed | 2030 Reduction Needed | 2050 Reduction Needed | 2024 Fine | 2030 Fine | 2050 Fine
10 rock | 660.2442 | 1122.7907 | 898.2326 | 112.2791 | 0% | 0% | 25.78% | 0 | 0 | 53370.8249 | 10 rock
1230 6th | 581.0556 | 1982.2793 | 1585.8235 | 198.2279 | 0% | 0% | 0% | 0 | 0 | 0 | 1230 6th
30 rock | 6282.5274 | 25765.6464 | 20612.5171 | 2576.5646 | 23.14% | 50.96% | 53.99% | 1987643.2342 | 3673150.7652 | 1281828.3637 | 30 rock
45 Rock | 2426.5966 | 4292.126 | 3433.7008 | 429.2126 | 0% | 5.917% | 40.33% | 0 | 92933.3907 | 308695.3067 | 45 Rock
610 5th | 363.4094 | 413.4468 | 330.7575 | 41.3447 | 0% | 27.5% | 61.57% | 0 | 51155.6701 | 66789.0077 | 610 5th
50 Rock | 953.9186 | 1398.8072 | 1119.0458 | 139.8807 | 0% | 0% | 39.52% | 0 | 0 | 115854.3553 | 50 Rock
620 5th | 279.0998 | 658.371 | 526.6968 | 65.8371 | 0% | 17.03% | 40.1% | 0 | 36779.3977 | 37069.1956 | 620 5th
1270 6th | 923.0661 | 987.6721 | 790.1377 | 98.7672 | 0% | 0% | 38.44% | 0 | 0 | 105277.3317 | 1270 6th
1 Rock | 847.9264 | 1556.6961 | 1245.3569 | 155.6696 | 0% | 0% | 20.68% | 0 | 0 | 55622.7616 | 1 Rock
600 5th | 590.6925 | 1433.2515 | 1146.6012 | 143.3252 | 0% | 0% | 24.45% | 0 | 0 | 48096.6256 | 600 5th
RCHM | 414.6815 | 864.3431 | 691.4745 | 86.4343 | 0% | 0% | 0% | 0 | 0 | 0
[8 empty] | 1987643.2342 | 3854019.2237 | 2072603.7726 | Total Fines Individually
As a Campus | 14323.2181 | 40475.4304 | 32380.3443 | 4047.543 | 0% | 21.81% | 38.56% | 0 | 2729519.0508 | 1898673.0451 | Fine as Campus
| GHG Emissions from 2019 Usage |  |  |  |  | % Change Required to Meet Goal
| 2019 Steam | 2019 Electric | 2030 Grid | 2050 Grid | 2024 Reduction Needed | 2030 Reduction Needed | 2050 Reduction Needed | 2024 Fine | 2030 Fine | 2050 Fine
10 rock | 921.9701 | 1427.9346 | 1142.3477 | 142.7935 | 0% | 10.13% | 46.15% | 0 | 56019.7912 | 131691.2117 | 10 rock
1230 6th | 744.0651 | 2410.1742 | 1928.1394 | 241.0174 | 0% | 0% | 0% | 0 | 0 | 0 | 1230 6th
30 rock | 7547.5036 | 29992.3155 | 23993.8524 | 2999.2316 | 34.39% | 58.18% | 61.35% | 3459404.1695 | 4918362.2349 | 1734116.7036 | 30 rock
45 Rock | 2834.04 | 5556.8548 | 4445.4839 | 555.6855 | 0% | 24.26% | 49.73% | 0 | 473286.1175 | 451784.8952 | 45 Rock
610 5th | 478.0867 | 502.7939 | 402.2351 | 50.2794 | 4.176% | 42.83% | 70.56% | 10978.9208 | 101045.186 | 99917.017 | 610 5th
50 Rock | 1216.4632 | 1884.9569 | 1507.9655 | 188.4957 | 0% | 21.43% | 52.92% | 0 | 156506.9178 | 199245.0941 | 50 Rock
620 5th | 372.9623 | 921.6732 | 737.3386 | 92.1673 | 3.558% | 39.79% | 55.58% | 12345.7807 | 118386.5228 | 69280.8328 | 620 5th
1270 6th | 959.3509 | 1266.5782 | 1013.2626 | 126.6578 | 0% | 0% | 42.08% | 0 | 0 | 122476.3499 | 1270 6th
1 Rock | 1064.1298 | 2105.0304 | 1684.0243 | 210.503 | 0% | 6.272% | 37.55% | 0 | 46194.879 | 128260.6372 | 1 Rock
600 5th | 741.3066 | 1588.8287 | 1271.0629 | 158.8829 | 0% | 10.83% | 38.4% | 0 | 58422.8737 | 92630.6905 | 600 5th
RCHM | 766.8251 | 1524.1936 | 1219.3549 | 152.4194 | 0% | 0% | 1.383% | 0 | 0 | 3406.524
[8 empty] | 3482728.8709 | 5928224.5229 | 3032809.9559 | Total Fines Individually
As a Campus | 17646.7034 | 49181.3341 | 39345.0673 | 4918.1334 | 0% | 35.92% | 49.98% | 0 | 5486758.8823 | 3022685.3289 | Fine as Campus
| GHG Emissions from 2018 Usage |  |  |  | % Change Required to Meet Goal
| 2018 Steam | 2018 Electric | 2030 Grid | 2050 Grid | 2024 Reduction Needed | 2030 Reduction Needed | 2050 Reduction Needed | 2024 Fine | 2030 Fine | 2050 Fine
10 rock | 1029.9689 | 1610.5586 | 1288.4469 | 161.0559 | 0% | 19.98% | 51.86% | 0 | 124118.059 | 165529.2201
1230 6th | 809.5545 | 2583.5514 | 2066.8412 | 258.3551 | 0% | 0% | 4.218% | 0 | 0 | 12073.0422
30 rock | 9245.5732 | 30068.5547 | 24054.8437 | 3006.8555 | 37.35% | 60.39% | 66.73% | 3934918.9151 | 5389790.5616 | 2191242.5647
45 Rock | 3098.6859 | 5505.7664 | 4404.6131 | 550.5766 | 0% | 26.52% | 53.31% | 0 | 533257.8313 | 521340.8081
610 5th | 408.0583 | 525.5641 | 420.4513 | 52.5564 | 0% | 39.25% | 66.23% | 0 | 87159.4996 | 81759.64
50 Rock | 1034.9886 | 1939.0506 | 1551.2405 | 193.9051 | 0% | 17.24% | 46.17% | 0 | 119469.4186 | 152059.6193
620 5th | 369.7644 | 956.3486 | 765.0789 | 95.6349 | 5.847% | 41.09% | 55.6% | 20781.7713 | 124963.9098 | 69353.1073
1270 6th | 990.3875 | 1358.9305 | 1087.1444 | 135.893 | 0% | 2.033% | 44.15% | 0 | 11321.2973 | 133269.1991
1 Rock | 1020.4069 | 2154.0383 | 1723.2307 | 215.4038 | 0% | 6.118% | 35.58% | 0 | 44984.4359 | 117856.3018
600 5th | 710.8478 | 1538.4337 | 1230.747 | 153.8434 | 0% | 7.582% | 35.87% | 0 | 39455.2356 | 83117.1493
RCHM | 755.737 | 1659.7515 | 1327.8012 | 165.9751 | 0% | 0% | 1.647% | 0 | 0 | 4067.8426
[8 empty] | 3955700.6863 | 6474520.2488 | 3531668.4944 | Total Fines Individually
As a Campus | 19473.9729 | 49900.5484 | 39920.4387 | 4990.0548 | 1.692% | 38.51% | 53.87% | 314596.4928 | 6130666.647 | 3531668.4944 | Fine as Campus

## Tishman Steam
| 2018 mlbs | 2019 mlbs | 2020 mlbs | 2021 mlbs
10 rock | 19199.21 | 17186.05 | 12307.33 | 13085.01
1230 6th | 15090.56 | 13869.8 | 10831.21 | 10404.58
30 rock | 172342.78 | 140689.79 | 117109.91 | 112920.4
45 Rock | 57761.28 | 52828.13 | 45233.15 | 46863.2
610 5th | 7606.44 | 8911.81 | 6774.16 | 6439.48
50 Rock | 19292.78 | 22675.57 | 17781.59 | 14896.85
620 5th | 6892.62 | 6952.23 | 5202.58 | 3981.37
1270 6th | 18461.39 | 17882.85 | 17206.48 | 17403.33
1 Rock and 600 5th | 32271.58 | 33654.37 | 26816.68 | 27080.53
Rock Center | 348918.64 | 314650.6 | 259263.09 | 253074.75

## Tishman Electric
| 2018 kwh | 2019 kwh | 2020 kwh | 2021 kwh
10 rock | 5573600 | 4941600 | 3885600 | 3983200
1230 6th | 8940800 | 8340800 | 6860000 | 7150400
30 rock | 38390160 | 38301120 | 29725760 | 29362080
45 Rock | 19053600 | 19230400 | 14853600 | 14758400
610 5th | 1818800 | 1740000 | 1430800 | 1296800
50 Rock | 6710400 | 6523200 | 4840800 | 3281600
620 5th | 3309600 | 3189600 | 2278400 | 2342480
1270 6th | 4702800 | 4383200 | 3418000 | 3217600
1 Rock | 7454400 | 7284800 | 5735600 | 5387200
600 5th | 5324000 | 5498400 | 4772800 | 4960000
Central Plant | 32990400 | 33216000 | 30028800 | 29500800
49 street sto - subway
1240 6 ave - 1240
fire pump - no usage
1270 6 ave entm - subway
49 st and 6 ave - subway
30 rock 55th - old lazard account | 412960 | 290560 | 296050 | 344160
620 fire alarm - no usage
Rock Center | 134268560 | 132649120 | 107830160 | 105240560

## LL97 30 Rock
| Past Energy Use | [8 empty] | GHG Limits
| sqft | 2018 mlbs | 2018 kwh | 2019 mlbs | 2019 kwh | 2020 mlbs | 2020 kwh | 2021 mlbs | 2021 kwh | 2024-2029 | 2030-2034 | 2050
All 30 Rock | 2911536 | 172342.78 | 104057124 | 140689.79 | 103793286 | 117109.91 | 89166210 | 112920.4 | 85350840 | 24631.5946 | 13189.2581 | 4076.1504
30 rock Base |  | 0 | 38803120 | 0 | 38591680 | 0 | 30021810 | 0 | 29706240
NBC |  | 0 | 32263604 | 0 | 31985606 | 0 | 29115600 | 0 | 26143800
Central Plant |  |  | 32990400 |  | 33216000 |  | 30028800 |  | 29500800

## NBC Energy
Start Date | End Date | kwh
2022-07-13 | 2022-08-11 | 2144800
2022-06-13 | 2022-07-13 | 2157200 | 2021 | 26143800
2022-05-12 | 2022-06-13 | 2334800 | 2020 | 29115600
2022-04-13 | 2022-05-12 | 1952800 | 2019 | 31985606
2022-03-15 | 2022-04-13 | 2193600 | 2018 | 32263604
2022-02-11 | 2022-03-15 | 2242000
2022-01-12 | 2022-02-11 | 2028000
2021-12-10 | 2022-01-12 | 2016400
2021-11-09 | 2021-12-10 | 2142800
2021-10-12 | 2021-11-09 | 1945200
2021-09-10 | 2021-10-12 | 2215600
2021-08-11 | 2021-09-10 | 2208400
2021-07-13 | 2021-08-11 | 2110800
2021-06-11 | 2021-07-13 | 2620800
2021-05-12 | 2021-06-11 | 2343200
2021-04-14 | 2021-05-12 | 2029600
2021-03-16 | 2021-04-14 | 2133800
2021-02-12 | 2021-03-16 | 2238000
2021-01-13 | 2021-02-12 | 2139200
2020-12-11 | 2021-01-13 | 2324400
2020-11-09 | 2020-12-11 | 2634400
2020-10-09 | 2020-11-09 | 2570400
2020-09-10 | 2020-10-09 | 2247600
2020-08-11 | 2020-09-10 | 2376000
2020-07-13 | 2020-08-11 | 2500400
2020-06-11 | 2020-07-13 | 2624800
2020-05-12 | 2020-06-11 | 2316000
2020-04-13 | 2020-05-12 | 2196800
2020-03-13 | 2020-04-13 | 2504000
2020-02-12 | 2020-03-13 | 2452800
2020-01-13 | 2020-02-12 | 2368000
2019-12-11 | 2020-01-13 | 2900800
2019-11-08 | 2019-12-11 | 2899200
2019-10-10 | 2019-11-08 | 2377200
2019-09-11 | 2019-10-10 | 2637201
2019-08-12 | 2019-09-11 | 2752401
2019-07-12 | 2019-08-12 | 2741201
2019-06-12 | 2019-07-12 | 2678801
2019-05-13 | 2019-06-12 | 2730001
2019-04-12 | 2019-05-13 | 2958800
2019-03-14 | 2019-04-12 | 2336400
2019-02-12 | 2019-03-14 | 2238800
2019-01-11 | 2019-02-12 | 2734801
2018-12-12 | 2019-01-11 | 2296400
2018-11-08 | 2018-12-12 | 2989200
2018-10-11 | 2018-11-08 | 2234001
2018-09-11 | 2018-10-11 | 2888801
2018-08-10 | 2018-09-11 | 2877200
2018-07-12 | 2018-08-10 | 2456801
2018-06-12 | 2018-07-12 | 2659201
2018-05-11 | 2018-06-12 | 2843200
2018-04-12 | 2018-05-11 | 2610800
2018-03-01 | 2018-04-12 | 2608400
2018-02-12 | 2018-03-01 | 2873200
2018-01-11 | 2018-02-12 | 2926400
2017-12-12 | 2018-01-11 | 2423600
2017-11-08 | 2017-12-12 | 3153200
2017-10-11 | 2017-11-08 | 2422400
2017-09-11 | 2017-10-11 | 2759601
2017-08-10 | 2017-09-11 | 3041601
2017-07-12 | 2017-08-10 | 2810400
2017-06-12 | 2017-07-12 | 2569035
2017-05-11 | 2017-06-12 | 2739600

## radio city
Energy Star | Start Date | End Date | kwh | Start Date | End Date | klbs |  | kwh | mlbs
| 2022-07-13 | 2022-08-11 |  |  |  |  | 2021 | 3872000 | 12254.5933
| 2022-06-13 | 2022-07-13 | 376800 |  |  |  | 2020 | 2991200 | 7729.9
| 2022-05-12 | 2022-06-13 | 499600 |  |  |  | 2019 | 5274720 | 14294.06
| 2022-04-13 | 2022-05-12 | 375200 |  |  |  | 2018 | 5743840 | 14087.37
| 2022-03-15 | 2022-04-13 | 389600
| 2022-02-11 | 2022-03-15 | 388400
| 2022-01-12 | 2022-02-11 | 334000
| 2021-12-13 | 2022-01-12 | 388800 |  |  | 2040.0233
| 2021-11-09 | 2021-12-13 | 631600 | 2021-11-09 | 2021-12-13 | 1698.31
| 2021-10-08 | 2021-11-09 | 517600 | 2021-10-09 | 2021-11-09 | 1817.57
| 2021-09-10 | 2021-10-08 | 352000 | 2021-09-10 | 2021-10-09 | 137.5
| 2021-08-12 | 2021-09-10 | 308800 | 2021-08-11 | 2021-09-10 | 134.32
| 2021-07-13 | 2021-08-12 | 333200 | 2021-07-13 | 2021-08-11 | 151.38
| 2021-06-11 | 2021-07-13 | 264800 | 2021-06-11 | 2021-07-13 | 142.09
| 2021-05-12 | 2021-06-11 | 221600 | 2021-05-12 | 2021-06-11 | 213.49
| 2021-04-14 | 2021-05-12 | 210800 | 2021-04-13 | 2021-05-12 | 242.2
| 2021-03-16 | 2021-04-14 | 187600 | 2021-03-13 | 2021-04-13 | 898.31
| 2021-02-12 | 2021-03-16 | 237200 | 2021-02-12 | 2021-03-13 | 2162.86
| 2021-01-13 | 2021-02-12 | 218000 | 2021-01-13 | 2021-02-12 | 2616.54
| 2020-12-11 | 2021-01-13 | 230400 | 2020-12-12 | 2021-01-13 | 1594.82
| 2020-11-09 | 2020-12-11 | 234800 | 2020-11-09 | 2020-12-12 | 569.68
| 2020-10-09 | 2020-11-09 | 201200 | 2020-10-09 | 2020-11-09 | 328.11
| 2020-09-10 | 2020-10-09 | 204400 | 2020-09-10 | 2020-10-09 | 172.53
| 2020-08-11 | 2020-09-10 | 224000 | 2020-08-11 | 2020-09-10 | 181.48
| 2020-07-11 | 2020-08-11 | 217600 | 2020-07-13 | 2020-08-11 | 206.66
| 2020-06-11 | 2020-07-11 | 244000 | 2020-06-11 | 2020-07-13 | 173.4
| 2020-05-12 | 2020-06-11 | 211600 | 2020-05-12 | 2020-06-11 | 286.98
| 2020-04-13 | 2020-05-12 | 211600 | 2020-04-13 | 2020-05-12 | 244.42
| 2020-03-13 | 2020-04-13 | 253200 | 2020-03-13 | 2020-04-13 | 443.06
| 2020-02-12 | 2020-03-13 | 374400 | 2020-02-12 | 2020-03-13 | 1549.98
| 2020-01-13 | 2020-02-12 | 384000 | 2020-01-13 | 2020-02-12 | 1978.78
| 2019-12-12 | 2020-01-13 | 664400 | 2019-12-12 | 2020-01-13 | 2826.94
| 2019-11-08 | 2019-12-12 | 724000 | 2019-11-08 | 2019-12-12 | 3307.02
| 2019-10-10 | 2019-11-08 | 381200
| 2019-09-11 | 2019-10-10 | 396400 | 2019-09-11 | 2019-11-08 | 102.48
| 2019-08-12 | 2019-09-11 | 337200 | 2019-08-12 | 2019-09-11 | 87.16
| 2019-07-12 | 2019-08-12 | 372000 | 2019-07-12 | 2019-08-12 | 96.11
| 2019-06-12 | 2019-07-12 | 381520 | 2019-06-12 | 2019-07-12 | 110.77
| 2019-05-13 | 2019-06-12 | 457200 | 2019-05-13 | 2019-06-12 | 140
| 2019-04-12 | 2019-05-13 | 460400 | 2019-04-12 | 2019-05-13 | 239.99
| 2019-03-14 | 2019-04-12 | 348400 | 2019-03-14 | 2019-04-12 | 1353.56
| 2019-02-12 | 2019-03-14 | 360000 | 2019-02-12 | 2019-03-14 | 2775.73
| 2019-01-11 | 2019-02-12 | 392000 | 2019-01-11 | 2019-02-12 | 3254.3
| 2018-12-12 | 2019-01-11 | 645600 | 2018-12-12 | 2019-01-11 | 2788.7
| 2018-11-08 | 2018-12-12 | 761600 | 2018-11-08 | 2018-12-12 | 3520.89
| 2018-10-11 | 2018-11-08 | 456480 | 2018-10-10 | 2018-11-08 | 530.16
| 2018-09-11 | 2018-10-11 | 417200 | 2018-09-11 | 2018-10-10 | 209.27
| 2018-08-10 | 2018-09-11 | 501040 | 2018-08-10 | 2018-09-11 | 225.77
| 2018-07-12 | 2018-08-10 | 404320 | 2018-07-12 | 2018-08-10 | 206.04
| 2018-06-12 | 2018-07-12 | 409200 | 2018-06-11 | 2018-07-12 | 215.27
| 2018-05-11 | 2018-06-12 | 514000 | 2018-05-11 | 2018-06-11 | 241
| 2018-04-12 | 2018-05-11 | 442800 | 2018-04-12 | 2018-05-11 | 381.06
| 2018-03-14 | 2018-04-12 | 350400 | 2018-03-11 | 2018-04-12 | 1454.81
| 2018-02-12 | 2018-03-14 | 362000 | 2018-02-11 | 2018-03-11 | 1703.85
| 2018-01-12 | 2018-02-12 | 479200 | 2018-01-11 | 2018-02-11 | 2610.55

## LL97 Constants
LL97 Constants
Group B Limit 2024-2029 | 0.00846 | tco2 per sqft
Group B limit 2030-2034 | 0.00453 | tco2 per sqft
goal 2050 | 0.0014 | tco2 per sqft
electricity | 0.00028896 | tco2 per kwh
gas | 5.311e-05 | tc02 per kbtu
steam | 4.493e-05 | tco2 per kbtu |  |  |  | $/mwh | $/kwh
electricity kbtu | 8.469e-05 | tco2 per kbtu |  |  |  | 77.4418 | 0.077442
Fine | 268
Kbtu/mlb | 1194 |  |  |  |  | ghg/mwh | 0.28896
[6 empty] | ghg/mlb | 0.053646
Steam/Elec Spread | 1.8849
2030 grid factor | 80% | percent of 2018 grid ghg intensity
2050 grid factor | 10% | percent of 2018 grid ghg intensity
heat pump avg cop | 2.5
steam eff | 70%
nyc yearly load | 53 | twh
indian point | 11.0376 | twh
2018 baseline | 20.83%
projects online by 2030
empire wind 1 | 3.6 | twh
Champlain Hudson Power Express | 10.4025
Clean Path NY | 7.9716 | twh
percent clean 2030 | 41.46%
dirty percent 2030/direct percent 2018 | 73.94% | this would be my calculated value for grid factor 2030
from calculator |  | tco2 | tco2/unit | kbtu/unit
mlb | 10000000 | 536464 | 0.053646 | 1193.9996 | <- too high
therms | 1000000 | 5311 | 0.005311 | 100
kwh | 1000000000 | 288959 | 0.00028896 |  |  | 1000 | mmbtu heat needed
[6 empty] | 960 | btu/lb
[6 empty] | 960000 | btu/mlb
[6 empty] | 1041.6667 | mbls
[6 empty] | 1194000 | btu/mlb ll97
|  |  | dhw heat recovery |  |  | 1243750 | kbtu
[6 empty] | 55.8817 | tons of co2 per 1000 mmbtu
|  |  | 1 mmbtu of heating |  |  | 318268.6187 | kwh
|  |  | 1.25 | mmbtu of steam needed |  | 91.9675 | tons of co2 per 1000 mmbtu
[6 empty] | 1.6458 | cop needed for electric to beat steam
|  |  | 1.3021 | mlbs
|  |  | 1554.6875 | kbtu
|  |  | 0.069852 | tons of co2
|  |  | 91.8756 | kwh input
|  |  | 0.026549 | tons of co2
|  |  | 201.2076 | cooling output
|  |  | 57.4879 | kwh avoided
|  |  | 0.0048686 | tons of co2 avoided
0.02168
|  |  | 3.222 | times better than steam heat ll97
|  |  | 0.26915 | mmbtu/hr